## Slide 1: TENA SDS PARTS INSTALLATION REPORT
14-02-2019

## Slide 2: Status Update Remaining items
All SDS parts installed
Power tests carried out
Dispense functionality test carried out
Time taken: appx 7.5 hrs.
Tank probe installation & calibration
Modem cable extension
Calibration
Swapping flowmeter cable with the new one arriving soon

## Slide 3: TESTING OPERATIONS
Testing Operations video link

## Slide 4: QC Report
The following are the QC checklists provided by QC team on the field during the installation of the SDS parts - QC Report

## Slide 5: CHALLENGES
Leakage on union from underground tank to pump, no pressure test by contractor - Solved by tightening union

## Slide 6: Challenges(Cont..)
2. No suitable pipe wrench to open the hexagon nut for UTS probe mounting on tank riser - .Require a 32‘’ Pipe wrench
Notes: Sourcing of hexagonal sure torque / 32pipewrench WIP

## Slide 7: Challenges(Cont..)
3. Cable from antenna to modem was short due to the antenna mounting height (2.3M) - Requires extension (currently sourcing)

## Slide 8: Areas to improve and future plans
Preparation of packing list template
Deployment of electrical panels sub-assembly, mains cables installation, tablet and modem sub assembly to be done prior to installation day
- This will help reduce time taken to <5 hrs from current 7.5 hrs

## Slide 9: PICTURES

## Slide 10: PICTURES cont...