## Slide 1: Fuel Logistics Monitoring Improvement
KOKO Core Technical Debt

## Slide 2: Grafana Changes
New dashboard will be included for STSs and SDSs
STS/SDS Detailed
STS/SDS Dispense Issue
STS/SDS Fuel Summary
STS/SDS Health
STS/SDS Live Monitor
STS/SDS Map Fuel Sales today will be changed to Refill Volume per day

## Slide 3: Database Changes for New Metrics
is_commissioned column will be introduced in both micro_tanker table and depot_station table
ctr_eth_vapour(ethanol ppm dashboards) and app_cpu_temperature(Temperature dashboard in detailed dashboard) will be introduced in both micro_tanker_heartbeat and depot_station_heartbeat and also in the http heartbeat
table: micro_tanker
additional column:
is_commissioned
is_high_focus
table: depot_station
additional column:
is_commissioned
is_high_focus
STS/SDS
table: micro_tanker_heartbeat/depot_station_heartbeat
additional column:
ctr_eth_vapour
app_cpu_temperature

## Slide 4: Database Changes Contd.
micro_tanker_status_history will be introduced as new metrics needs historical data of fuel point status that will be flowing to Athena everyday. KOKO Core will have only 7 days of data in micro_tanker_status_history
table: micro_tanker_status_history
id
micro_tanker_id
app_system_state
is_connected_ctrl
is_connected_web
is_commissioned
is_active
fuel_book_stock_ml
ctr_tank_level
ctrl_heartbeat_received_at
web_heartbeat_received_at
KC
table: micro_tanker_status_history
id
micro_tanker_id
app_system_state
is_connected_ctrl
is_connected_web
is_commissioned
is_active
fuel_book_stock_ml
ctr_tank_level
ctrl_heartbeat_received_at
web_heartbeat_received_at
Athena
Data migration

## Slide 5: Database Changes Contd.
depot_station_status_history will be introduced as new metrics needs historical data of fuel point status that will be flowing to Athena everyday. KOKO Core will have only 7 days of data in depot_station_status_history
depot_station_status_history
id
depot_station_id
app_system_state
is_connected_ctrl
is_connected_web
is_commissioned
is_active
fuel_book_stock_ml
ctr_tank_level
ctrl_heartbeat_received_at
web_heartbeat_received_at
KC
table: depot_station_status_history
id
depot_station_id
app_system_state
is_connected_ctrl
is_connected_web
is_commissioned
is_active
fuel_book_stock_ml
ctr_tank_level
ctrl_heartbeat_received_at
web_heartbeat_received_at
Athena
Data migration

## Slide 6: FreshService Ticket creation(Requirement from Grace)
Freshservice ticket should be created per field system whenever any field system goes to out of service
AWS Lambda will run for every 10 minutes between 08:00 AM to 08:00 PM
Fetches data from fuel_point_status_history/micro_tanker_status_history/depot_station_status_history
KC DB
Check:
Check all the commissioned field systems that went out of service in 10-20 minutes.
Check if the ticket is not created for the system
Check if the ticket is there but with the status as closed.
Create ticket in freshdesk through API integration.
Add fault code information in the title

## Slide 7: FreshService Ticket creation(Requirement from Grace)
Freshservice ticket should be created per field system whenever any field system goes to offline
AWS Lambda will run for every 10 minutes between 08:00 AM to 08:00 PM
Fetches data from fuel_point_status_history/micro_tanker_status_history/depot_station_status_history
KC DB
Check:
Check all the field systems that went offline in 30-40 minutes
Check all the field systems that went out of service in 10-20 minutes
Create ticket in freshdesk through API integration
AWS Lambda will run every day at 08:00 AM
Check:
Check all the field systems that were offline/out of service for the last 24 hours
Create ticket in freshdesk through API integration